## NFPA Vacuum
[8 empty] | Altitude Compensation |  |  |  | Needed SCFM | SCFM | Model #
[8 empty] | feet | mult | "HgA | Row | 2 | 0 | V-RVL-D-080P-TH-N-010 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_horiz.pdf
[7 empty] | 0 | 0 | 1 | 29.92 |  | V-RVL-D-080P-TH-N-010 | 5.5 | V-RVL-D-080P-TH-N-010 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_horiz.pdf
[7 empty] | 1 | 500 | 1.0192 | 29.6 |  | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_horiz.pdf | 7 | V-RVL-D-080P-TH-N-015 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_horiz.pdf
[8 empty] | 1000 | 1.0584 | 29 |  |  | 11 | V-RVL-D-080P-TH-N-020 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_horiz.pdf
[8 empty] | 1500 | 1.0949 | 28.5 |  |  | 17 | V-RVL-D-080P-TH-N-030 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_horiz.pdf
NFPA EQUIPMENT SIZING GUIDE - VACUUM SYSTEM | [7 empty] | 2000 | 1.1355 | 28 |  |  | 37 | V-RVL-D-120P-TH-N-050 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_horiz.pdf
[8 empty] | 2500 | 1.1713 | 27.6 |  |  | 52 | V-RVL-D-120P-TH-N-075 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_horiz.pdf
Name of Facility: | [7 empty] | 3000 | 1.2318 | 27 |  |  | 77 | V-RVL-D-120P-TH-N-100 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_horiz.pdf
[8 empty] | 3500 | 1.2896 | 26.5 |  |  |  | Please contact Amico Rep | www.amico.com
Project Number: | [7 empty] | 4000 | 1.3417 | 26.1
[8 empty] | 5000 | 1.4657 | 25.3 |  | Needed SCFM | SCFM | Model #
ENTER REQUIRED DATA IN THE BLUE SHADED AREAS BELOW | [7 empty] | 6000 | 1.6734 | 24.3 | Row | 2 | 0 | V-RVL-D-080P-TS-N-010 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_vert.pdf
[8 empty] | 7000 | 1.941 | 23.4 |  | V-RVL-D-080P-TS-N-010 | 5.5 | V-RVL-D-080P-TS-N-010 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_vert.pdf
LOCATION OF OUTLETS |  | VACUUM - NFPA Method | [5 empty] | 8000 | 2.1898 | 22.8 |  | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_vert.pdf | 7 | V-RVL-D-080P-TS-N-015 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_vert.pdf
|  | Units Required | Units | Outlet CFM | Simultaneous Use % | Outlet CFM |  | 9000 | 2.7562 | 21.9 |  |  | 11 | V-RVL-D-080P-TS-N-020 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_vert.pdf
[8 empty] | 10000 | 3.8322 | 21 |  |  | 17 | V-RVL-D-080P-TS-N-030 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_vert.pdf
Anesthetizing Location | [7 empty] | 11000 | 5.3182 | 20.4 |  |  | 37 | V-RVL-D-120P-TS-N-050 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_vert.pdf
[13 empty] | 52 | V-RVL-D-120P-TS-N-075 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_vert.pdf
1 | Operating Room | 0 | Room(s) | 3.5 | 100 | [7 empty] | 77 | V-RVL-D-120P-TS-N-100 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_vert.pdf
2 | Cystoscopy | 0 | Room(s) | 2 | 100 | [8 empty] | Please contact Amico Rep | www.amico.com
3 | Delivery | 0 | Room(s) | 1 | 100
4 | Special Proced. (Open heart, Transplant, etc.) | 0 | Room(s) | 4 | 100 | [6 empty] | Needed SCFM | SCFM | Model #
5 | Emergency/ Major Trauma Room | 0 | Room(s) | 3 | 100 | [5 empty] | Row | 2 | 0 | V-RVL-D-200P-SS-N-010 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_mod.pdf
6 | Other Anesthetizing Location | 0 | Room(s) | 1 | 50 | [6 empty] | V-RVL-D-200P-SS-N-010 | 5.5 | V-RVL-D-200P-SS-N-010 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_mod.pdf
7 | Evacuation Vacuum | 0 | Room(s) | 2 | 100 | [6 empty] | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_mod.pdf | 7 | V-RVL-D-200P-SS-N-015 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_mod.pdf
[13 empty] | 11 | V-RVL-D-200P-SS-N-020 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_mod.pdf
Acute Care Location | [12 empty] | 17 | V-RVL-D-200P-SS-N-030 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_mod.pdf
[13 empty] | 37 | V-RVL-D-200P-SS-N-050 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_mod.pdf
| (Non-Anesthetizing) | [11 empty] | 52 | V-RVL-D-200P-SS-N-075 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_mod.pdf
1 | Recovery Room | 0 | Bed(s) | 1.5 | 50 | [7 empty] | 77 | V-RVL-D-200P-SS-N-100 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_mod.pdf
2 | I.C.U (Except Cardiac) | 0 | Bed(s) | 2 | 75 | [7 empty] | 111 | V-RVL-D-200P-SS-N-150 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_mod.pdf
3 | Cardiac I.C.U | 0 | Bed(s) | 1 | 50 | [7 empty] | 137 | V-RVL-D-200P-SS-N-200 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_mod.pdf
4 | Emergency Room | 0 | Bed(s) | 1 | 100 | [7 empty] | 168 | V-RVL-D-200P-SS-N-250 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_mod.pdf
5 | Special Procedures (X-Ray, dialysis, etc.) | 0 | Room(s) | 1.5 | 30 | [7 empty] | 198 | V-RVL-D-200P-SS-N-300 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_mod.pdf
6 | Catherterization Lab | 0 | Room(s) | 1 | 10 | [7 empty] | 242 | V-RVL-D-200P-SS-N-400 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_mod.pdf
7 | Surgical Excision Room | 0 | Room(s) | 1 | 10 | [7 empty] | 295 | V-RVL-D-200P-SS-N-500 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_dup_mod.pdf
8 | Neonatal I.C.U, | 0 | Bed(s) | 1 | 50 | [8 empty] | Please contact Amico Rep | www.amico.com
Sub-Acute Patient Care | [11 empty] | Needed SCFM | SCFM | Model #
[11 empty] | Row | 2 | 0 | V-RVL-T-200P-SS-N-010 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_tri.pdf
| (Non-Anesthetizing) | [10 empty] | V-RVL-T-200P-SS-N-010 | 11 | V-RVL-T-200P-SS-N-010 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_tri.pdf
1 | Patient Room - Surgical | 0 | Bed(s) | 1.5 | 15 | [6 empty] | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_tri.pdf | 14 | V-RVL-T-200P-SS-N-015 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_tri.pdf
2 | Patient Room - Medical | 0 | Bed(s) | 1 | 10 | [7 empty] | 22 | V-RVL-T-200P-SS-N-020 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_tri.pdf
3 | Exam & Treatment Room | 0 | Room(s) | 1 | 10 | [7 empty] | 34 | V-RVL-T-200P-SS-N-030 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_tri.pdf
4 | Nursery | 0 | Bassinet(s) | 1 | 10 | [7 empty] | 74 | V-RVL-T-200P-SS-N-050 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_tri.pdf
5 | Nursery Premature | 0 | Bassinet(s) | 1 | 25 | [7 empty] | 104 | V-RVL-T-200P-SS-N-075 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_tri.pdf
[13 empty] | 154 | V-RVL-T-200P-SS-N-100 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_tri.pdf
Other Patient Rooms | [12 empty] | 222 | V-RVL-T-200P-SS-N-150 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_tri.pdf
[13 empty] | 274 | V-RVL-T-200P-SS-N-200 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_tri.pdf
1 | Respiratory Care Dep't | 0 | Room(s) | 1.5 | 10 | [7 empty] | 336 | V-RVL-T-200P-SS-N-250 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_tri.pdf
2 | Teaching | 0 | Room(s) | 1.5 | 10 | [7 empty] | 396 | V-RVL-T-200P-SS-N-300 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_tri.pdf
3 | Autopsy | 0 | Table(s) | 1.5 | 10 | [7 empty] | 484 | V-RVL-T-200P-SS-N-400 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_tri.pdf
4 | Location1: Vac* | 0 | Outlet(s) | 3 | 100 | [7 empty] | 591 | V-RVL-T-200P-SS-N-500 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_tri.pdf
5 | Location2: | 0 | Outlet(s) | [10 empty] | Please contact Amico Rep | www.amico.com
6 | Location3: | 0 | Outlet(s)
7 | Location4: | 0 | Outlet(s) | [8 empty] | Needed SCFM | SCFM | Model #
[11 empty] | Row | 2 | 0 | V-RVL-Q-200P-SS-N-010 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_quad.pdf
Future Expansion | [5 empty] | 0 | [5 empty] | V-RVL-Q-200P-SS-N-010 | 16.5 | V-RVL-Q-200P-SS-N-010 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_quad.pdf
[12 empty] | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_quad.pdf | 21 | V-RVL-Q-200P-SS-N-015 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_quad.pdf
PEAK CALCULATED DEMAND IN SCFM @ 19"hg: | [5 empty] | 0 | [6 empty] | 33 | V-RVL-Q-200P-SS-N-020 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_quad.pdf
Altitude above sea level, ft: | [5 empty] | 0 | [6 empty] | 51 | V-RVL-Q-200P-SS-N-030 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_quad.pdf
PEAK CALCULATED DEMAND IN SCFM @ 19"hg, ALTITUDE ADJUSTED: | [5 empty] | 0 | [6 empty] | 111 | V-RVL-Q-200P-SS-N-050 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_quad.pdf
[13 empty] | 156 | V-RVL-Q-200P-SS-N-075 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_quad.pdf
NOTE: The system model below are provided as a reference and variation of the systems are available. Please contact your | [12 empty] | 231 | V-RVL-Q-200P-SS-N-100 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_quad.pdf
local sales rep for details. | [12 empty] | 333 | V-RVL-Q-200P-SS-N-150 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_quad.pdf
* Maybe used alone if you wish to only count outlets needed. You may change that field as you see fit. | [12 empty] | 411 | V-RVL-Q-200P-SS-N-200 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_quad.pdf
| Amico Source Contact Information | [11 empty] | 504 | V-RVL-Q-200P-SS-N-250 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_quad.pdf
[13 empty] | 593 | V-RVL-Q-200P-SS-N-300 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_quad.pdf
|  | Telephone | E-MAIL | [9 empty] | 725 | V-RVL-Q-200P-SS-N-400 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_quad.pdf
| Project Management - USA | 1-877-462-6426 | as-usa@amico.com | [9 empty] | 886 | V-RVL-Q-200P-SS-N-500 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_lubricated_rotary_vane_vac_quad.pdf
| Project Management - Canada | 1-877-462-6426 | as-canada@amico.com | [10 empty] | Please contact Amico Rep | www.amico.com
| Project Management - International | 1-877-462-6426 | as-intl@amico.com
| Parts | 1-877-462-6426 | as-parts@amico.com | [8 empty] | Needed SCFM | SCFM | Model #
| Tech Support | 1-888-770-6035 | as-techsupport@amico.com | [7 empty] | Row | 2 | 0 | V-RVD-D-080P-TH-N-012 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_dup_horiz.pdf
[12 empty] | V-RVD-D-080P-TH-N-012 | 5.3 | V-RVD-D-080P-TH-N-012 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_dup_horiz.pdf
[12 empty] | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_dup_horiz.pdf | 8.3 | V-RVD-D-080P-TH-N-020 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_dup_horiz.pdf
| Lubricated Rotary Vane System | [11 empty] | 12.5 | V-RVD-D-080P-TH-N-030 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_dup_horiz.pdf
|  | System Model # |  | Drawing Link | [8 empty] | 22.1 | V-RVD-D-080P-TH-N-048 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_dup_horiz.pdf
[13 empty] | 41 | V-RVD-D-120P-TH-N-064 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_dup_horiz.pdf
[13 empty] | 51.3 | V-RVD-D-120P-TH-N-089 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_dup_horiz.pdf
| Tank Mount Horizontal | [12 empty] | Please contact Amico Rep | www.amico.com
| Tank Mount Space Saver | [10 empty] | Needed SCFM | SCFM | Model #
[11 empty] | Row | 2 | 0 | V-RVD-D-080P-TS-N-012 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_dup_vert.pdf
| Duplex Skid Mount | [10 empty] | V-RVD-D-080P-TS-N-012 | 5.3 | V-RVD-D-080P-TS-N-012 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_dup_vert.pdf
[12 empty] | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_dup_vert.pdf | 8.3 | V-RVD-D-080P-TS-N-020 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_dup_vert.pdf
| Triplex Skid Mount | [11 empty] | 12.5 | V-RVD-D-080P-TS-N-030 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_dup_vert.pdf
[13 empty] | 22.1 | V-RVD-D-080P-TS-N-048 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_dup_vert.pdf
| Quadraplex Skid Mount | [11 empty] | 30.4 | V-RVD-D-120P-TS-N-064 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_dup_vert.pdf
[13 empty] | 51.3 | V-RVD-D-120P-TS-N-089 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_dup_vert.pdf
[14 empty] | Please contact Amico Rep | www.amico.com
Dry Rotary Vane System
|  | System Model # |  | Drawing Link | [7 empty] | Needed SCFM | SCFM | Model #
[11 empty] | Row | 2 | 0 | V-RVD-D-200P-SS-N-012 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_dup_mod_bch.pdf
[12 empty] | V-RVD-D-200P-SS-N-012 | 5.3 | V-RVD-D-200P-SS-N-012 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_dup_mod_bch.pdf
| Tank Mount Horizontal | [10 empty] | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_dup_mod_bch.pdf | 8.3 | V-RVD-D-200P-SS-N-020 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_dup_mod_bch.pdf
[13 empty] | 12.5 | V-RVD-D-200P-SS-N-030 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_dup_mod_bch.pdf
| Tank Mount Space Saver | [11 empty] | 22.1 | V-RVD-D-200P-SS-N-048 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_dup_mod_bch.pdf
[13 empty] | 41 | V-RVD-D-200P-SS-N-064 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_dup_mod_bch.pdf
| Duplex Skid Mount | [11 empty] | 51.3 | V-RVD-D-200P-SS-N-089 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_dup_mod_bch.pdf
[13 empty] | 77.8 | V-RVD-D-200P-SS-N-121 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_dup_mod_bch.pdf
| Triplex Skid Mount | [11 empty] | 103.4 | V-RVD-D-200P-SS-N-177 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_dup_mod_bch.pdf
[14 empty] | Please contact Amico Rep | www.amico.com
Quadraplex Skid Mount
[12 empty] | Needed SCFM | SCFM | Model #
[11 empty] | Row | 2 | 0 | V-RVD-T-200P-SS-N-012 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_tri_bch.pdf
| Dry Contactless Claw System | [10 empty] | V-RVD-T-200P-SS-N-012 | 10.6 | V-RVD-T-200P-SS-N-012 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_tri_bch.pdf
|  | System Model # |  | Drawing Link | [7 empty] | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_tri_bch.pdf | 16.5 | V-RVD-T-200P-SS-N-020 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_tri_bch.pdf
[13 empty] | 25 | V-RVD-T-200P-SS-N-030 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_tri_bch.pdf
[13 empty] | 44.2 | V-RVD-T-200P-SS-N-048 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_tri_bch.pdf
| Tank Mount Horizontal | [11 empty] | 82 | V-RVD-T-200P-SS-N-064 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_tri_bch.pdf
[13 empty] | 102.5 | V-RVD-T-200P-SS-N-089 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_tri_bch.pdf
| Tank Mount Space Saver | [11 empty] | 155.6 | V-RVD-T-200P-SS-N-121 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_tri_bch.pdf
[13 empty] | 206.8 | V-RVD-T-200P-SS-N-177 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_dry_rotary_vane_vac_tri_bch.pdf
| Duplex Skid Mount | [12 empty] | Please contact Amico Rep | www.amico.com
| Triplex Skid Mount | [10 empty] | Needed SCFM | SCFM | Model #
[11 empty] | Row | 2 | 0 | V-RVD-Q-200P-SS-N-012 | http://www.amico.com/sites/default/files/product/downloads/as_dr_nfpa_dry_rotary_vane_vac_quad_bch.pdf
| Quadraplex Skid Mount | [10 empty] | V-RVD-Q-200P-SS-N-012 | 16 | V-RVD-Q-200P-SS-N-012 | http://www.amico.com/sites/default/files/product/downloads/as_dr_nfpa_dry_rotary_vane_vac_quad_bch.pdf
[12 empty] | http://www.amico.com/sites/default/files/product/downloads/as_dr_nfpa_dry_rotary_vane_vac_quad_bch.pdf | 24.8 | V-RVD-Q-200P-SS-N-020 | http://www.amico.com/sites/default/files/product/downloads/as_dr_nfpa_dry_rotary_vane_vac_quad_bch.pdf
[13 empty] | 37.5 | V-RVD-Q-200P-SS-N-030 | http://www.amico.com/sites/default/files/product/downloads/as_dr_nfpa_dry_rotary_vane_vac_quad_bch.pdf
[13 empty] | 66.3 | V-RVD-Q-200P-SS-N-048 | http://www.amico.com/sites/default/files/product/downloads/as_dr_nfpa_dry_rotary_vane_vac_quad_bch.pdf
[13 empty] | 123 | V-RVD-Q-200P-SS-N-064 | http://www.amico.com/sites/default/files/product/downloads/as_dr_nfpa_dry_rotary_vane_vac_quad_bch.pdf
[13 empty] | 153.9 | V-RVD-Q-200P-SS-N-089 | http://www.amico.com/sites/default/files/product/downloads/as_dr_nfpa_dry_rotary_vane_vac_quad_bch.pdf
[13 empty] | 233.4 | V-RVD-Q-200P-SS-N-121 | http://www.amico.com/sites/default/files/product/downloads/as_dr_nfpa_dry_rotary_vane_vac_quad_bch.pdf
[13 empty] | 310.2 | V-RVD-Q-200P-SS-N-177 | http://www.amico.com/sites/default/files/product/downloads/as_dr_nfpa_dry_rotary_vane_vac_quad_bch.pdf
[14 empty] | Please contact Amico Rep | www.amico.com
[12 empty] | Needed SCFM | SCFM | Model #
[11 empty] | Row | 2 | 0 | V-CCD-D-080P-TH-N-020 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactess_vac_dup_horiz.pdf
[12 empty] | V-CCD-D-080P-TH-N-020 | 16 | V-CCD-D-080P-TH-N-020 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactess_vac_dup_horiz.pdf
[12 empty] | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactess_vac_dup_horiz.pdf | 21 | V-CCD-D-080P-TH-N-030 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactess_vac_dup_horiz.pdf
[13 empty] | 29 | V-CCD-D-080P-TH-N-040 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactess_vac_dup_horiz.pdf
[13 empty] | 38 | V-CCD-D-080P-TH-N-054 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactess_vac_dup_horiz.pdf
[13 empty] | 52 | V-CCD-D-120P-TH-N-064 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactess_vac_dup_horiz.pdf
[13 empty] | 65 | V-CCD-D-120P-TH-N-075 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactess_vac_dup_horiz.pdf
[13 empty] | 73 | V-CCD-D-120P-TH-N-100 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactess_vac_dup_horiz.pdf
[14 empty] | Please contact Amico Rep | www.amico.com
[12 empty] | Needed SCFM | SCFM | Model #
[11 empty] | Row | 2 | 0 | V-CCD-D-080P-TS-N-020 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_dup_vert.pdf
[12 empty] | V-CCD-D-080P-TS-N-020 | 16 | V-CCD-D-080P-TS-N-020 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_dup_vert.pdf
[12 empty] | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_dup_vert.pdf | 21 | V-CCD-D-080P-TS-N-030 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_dup_vert.pdf
[13 empty] | 29 | V-CCD-D-080P-TS-N-040 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_dup_vert.pdf
[13 empty] | 38 | V-CCD-D-080P-TS-N-054 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_dup_vert.pdf
[13 empty] | 52 | V-CCD-D-120P-TS-N-064 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_dup_vert.pdf
[13 empty] | 65 | V-CCD-D-120P-TS-N-075 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_dup_vert.pdf
[13 empty] | 73 | V-CCD-D-120P-TS-N-100 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_dup_vert.pdf
[14 empty] | Please contact Amico Rep | www.amico.com
[12 empty] | Needed SCFM | SCFM | Model #
[11 empty] | Row | 2 | 0 | V-CCD-D-200P-SS-N-020 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_dup_mod.pdf
[12 empty] | V-CCD-D-200P-SS-N-020 | 16 | V-CCD-D-200P-SS-N-020 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_dup_mod.pdf
[12 empty] | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_dup_mod.pdf | 21 | V-CCD-D-200P-SS-N-030 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_dup_mod.pdf
[13 empty] | 29 | V-CCD-D-200P-SS-N-040 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_dup_mod.pdf
[13 empty] | 38 | V-CCD-D-200P-SS-N-054 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_dup_mod.pdf
[13 empty] | 52 | V-CCD-D-200P-SS-N-064 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_dup_mod.pdf
[13 empty] | 65 | V-CCD-D-200P-SS-N-075 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_dup_mod.pdf
[13 empty] | 110 | V-CCD-D-200P-SS-N-100 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_dup_mod.pdf
[13 empty] | 129 | V-CCD-D-200P-SS-N-150 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_dup_mod.pdf
[13 empty] | 215.3 | V-CCD-D-200P-SS-N-300 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_dup_mod.pdf
[14 empty] | Please contact Amico Rep | www.amico.com
[12 empty] | Needed SCFM | SCFM | Model #
[11 empty] | Row | 2 | 0 | V-CCD-T-200P-SS-N-020 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_tri.pdf
[12 empty] | V-CCD-T-200P-SS-N-020 | 32 | V-CCD-T-200P-SS-N-020 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_tri.pdf
[12 empty] | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_tri.pdf | 42 | V-CCD-T-200P-SS-N-030 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_tri.pdf
[13 empty] | 58 | V-CCD-T-200P-SS-N-040 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_tri.pdf
[13 empty] | 76 | V-CCD-T-200P-SS-N-054 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_tri.pdf
[13 empty] | 104 | V-CCD-T-200P-SS-N-064 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_tri.pdf
[13 empty] | 130 | V-CCD-T-200P-SS-N-075 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_tri.pdf
[13 empty] | 220 | V-CCD-T-200P-SS-N-100 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_tri.pdf
[13 empty] | 258 | V-CCD-T-200P-SS-N-150 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_tri.pdf
[13 empty] | 430.6 | V-CCD-T-200P-SS-N-300 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_tri.pdf
[14 empty] | Please contact Amico Rep | www.amico.com
[12 empty] | Needed SCFM | SCFM | Model #
[11 empty] | Row | 2 | 0 | V-CCD-Q-200P-SS-N-020 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_quad.pdf
[12 empty] | V-CCD-Q-200P-SS-N-020 | 48 | V-CCD-Q-200P-SS-N-020 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_quad.pdf
[12 empty] | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_quad.pdf | 63 | V-CCD-Q-200P-SS-N-030 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_quad.pdf
[13 empty] | 87 | V-CCD-Q-200P-SS-N-040 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_quad.pdf
[13 empty] | 114 | V-CCD-Q-200P-SS-N-054 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_quad.pdf
[13 empty] | 156 | V-CCD-Q-200P-SS-N-064 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_quad.pdf
[13 empty] | 195 | V-CCD-Q-200P-SS-N-075 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_quad.pdf
[13 empty] | 330 | V-CCD-Q-200P-SS-N-100 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_quad.pdf
[13 empty] | 387 | V-CCD-Q-200P-SS-N-150 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_quad.pdf
[13 empty] | 645.9 | V-CCD-Q-200P-SS-N-300 | http://www.amico.com/sites/default/files/products/as_dr_nfpa_contactless_vac_quad.pdf
[14 empty] | Please contact Amico Rep | www.amico.com

## NFPA Air
[20 empty] | Needed SCFM | SCFM | Model #
[19 empty] | Row | #N/A | 1 | A-SCD-D-080P-TH-N-020 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_scd_horizontal_tank_mount.pdf
[20 empty] | #N/A | 5.6 | A-SCD-D-080P-TH-N-020 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_scd_horizontal_tank_mount.pdf
[20 empty] | #N/A | 8.5 | A-SCD-D-080P-TH-N-030 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_scd_horizontal_tank_mount.pdf
[21 empty] | 14.1 | A-SCD-D-120P-TH-N-050 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_scd_horizontal_tank_mount.pdf
NFPA EQUIPMENT SIZING GUIDE - AIR COMPRESSOR SYSTEM | [20 empty] | 24 | A-SCD-D-120P-TH-N-075 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_scd_horizontal_tank_mount.pdf
[21 empty] | 32 | A-SCD-D-120P-TH-N-100 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_scd_horizontal_tank_mount.pdf
Name of Facility: | [21 empty] | Please Contact Amico Rep | www.amico.com
[9 empty] | Temperature correction factor |  |  |  | Altitude Compensation |  |  | moisture content of air
Project Number: | [8 empty] | intake temp |  |  |  | feet | mult |  | gr/lb | vol % |  |  | Needed SCFM | SCFM | Model #
[9 empty] | deg C | deg F | factor | 0 | 0 | 1 | 0 | 0 | 0 | 400 | Row | #N/A | 1 | A-SCD-D-200P-SS-N-020 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_scd_modular_stack_mount.pdf
ENTER REQUIRED DATA IN THE BLUE SHADED AREAS BELOW | [11 empty] | 0 | 1600 | 1.05 | 0 | 0.008 | 0.0001 | 366 |  | #N/A | 5.6 | A-SCD-D-200P-SS-N-020 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_scd_modular_stack_mount.pdf
[8 empty] | 0 | -46 | -50 | 0.773 |  | 3300 | 1.11 |  | 0.01 | 0.0002 | 333 |  | #N/A | 8.5 | A-SCD-D-200P-SS-N-030 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_scd_modular_stack_mount.pdf
LOCATION OF OUTLETS |  | MEDICAL AIR - US Typical Method | [5 empty] | 0.867 | -40 | -40 | 0.792 |  | 5000 | 1.17 |  | 0.02 | 0.0004 | 300 |  |  | 14.1 | A-SCD-D-200P-SS-N-050 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_scd_modular_stack_mount.pdf
|  | Units Required | Units | Outlet CFM | Simultaneous Use % | Outlet CFM |  |  | -34 | -30 | 0.811 |  | 6600 | 1.24 |  | 0.025 | 0.0006 | 266 |  |  | 24 | A-SCD-D-200P-SS-N-075 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_scd_modular_stack_mount.pdf
[7 empty] | at 60 °F: | 0.981 | -28 | -20 | 0.83 |  | 8200 | 1.31 | [6 empty] | 32 | A-SCD-D-200P-SS-N-100 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_scd_modular_stack_mount.pdf
Surgical Procedures | [8 empty] | -23 | -10 | 0.849 |  | 9900 | 1.39 |  | 0.03 | 0.0008 | 233 |  |  | 48 | A-SCD-D-200P-SS-N-150 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_scd_modular_stack_mount.pdf
[7 empty] | total correction difference: | -0.114 | -18 | 0 | 0.867 |  |  |  |  | 0.035 | 0.0008 | 200 |  |  | 64 | A-SCD-D-200P-SS-N-200 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_scd_modular_stack_mount.pdf
1 | PreOp Holding | 0 | Bed(s) | 1 | 10 |  |  |  | -9 | 10 | 0.886 |  |  |  |  | 0.04 | 0.001 | 150 |  |  |  | Please Contact Amico Rep | www.amico.com
2 | Major Invasive | 0 | Room(s) | 3.5 | 100 |  |  |  | -5 | 20 | 0.905 |  |  |  |  | 0.06 | 0.0015 | 100
3 | Minor Invasive | 0 | Room(s) | 2 | 100 |  |  |  | -1 | 30 | 0.925 |  |  |  |  | 0.08 | 0.002 | 90 |  | Needed SCFM | SCFM | Model #
4 | Trauma and Emergency | 0 | Room(s) | 3 | 100 |  |  |  | 4 | 40 | 0.943 |  |  |  |  | 0.1 | 0.003 | 80 | Row | #N/A | 1 | A-SCD-T-200P-SS-N-020 | http://www.amico.com/sites/default/files/product/downloads/nfpa_triplex_scd_modular_stack_mount.pdf
5 | Catherization & Lab work | 0 | Room(s) | 1 | 10 |  |  |  | 10 | 50 | 0.962 |  |  |  |  | 0.15 | 0.004 | 70 |  | #N/A | 11.2 | A-SCD-T-200P-SS-N-020 | http://www.amico.com/sites/default/files/product/downloads/nfpa_triplex_scd_modular_stack_mount.pdf
6 | Endoscopy | 0 | Room(s) | 2 | 100 |  |  |  | 18 | 60 | 0.981 |  |  |  |  | 0.2 | 0.006 | 60 |  | #N/A | 17 | A-SCD-T-200P-SS-N-030 | http://www.amico.com/sites/default/files/product/downloads/nfpa_triplex_scd_modular_stack_mount.pdf
7 | Recovery | 0 | Bed(s) | 1.5 | 50 |  |  |  | 22 | 70 | 1 |  |  |  |  | 0.3 | 0.008 | 50 |  |  | 28.2 | A-SCD-T-200P-SS-N-050 | http://www.amico.com/sites/default/files/product/downloads/nfpa_triplex_scd_modular_stack_mount.pdf
[9 empty] | 27 | 80 | 1.019 |  |  |  |  | 0.45 | 0.01 | 40 |  |  | 48 | A-SCD-T-200P-SS-N-075 | http://www.amico.com/sites/default/files/product/downloads/nfpa_triplex_scd_modular_stack_mount.pdf
Tests and Outpatient Procedures | [8 empty] | 32 | 90 | 1.038 |  |  |  |  | 0.6 | 0.015 | 35 |  |  | 64 | A-SCD-T-200P-SS-N-100 | http://www.amico.com/sites/default/files/product/downloads/nfpa_triplex_scd_modular_stack_mount.pdf
[9 empty] | 38 | 100 | 1.057 |  |  |  |  | 0.8 | 0.02 | 30 |  |  | 96 | A-SCD-T-200P-SS-N-150 | http://www.amico.com/sites/default/files/product/downloads/nfpa_triplex_scd_modular_stack_mount.pdf
1 | X-ray, CAT, NMR, PET scans | 0 | Room(s) | 1.5 | 30 |  |  |  | 43 | 110 | 1.076 |  |  |  |  | 1 | 0.03 | 25 |  |  | 128 | A-SCD-T-200P-SS-N-200 | http://www.amico.com/sites/default/files/product/downloads/nfpa_triplex_scd_modular_stack_mount.pdf
2 | Dialysis | 0 | Bed(s) | 1.5 | 30 | [10 empty] | 1.5 | 0.04 | 20 |  |  |  | Please Contact Amico Rep | www.amico.com
3 | Exam and Minor Treatment | 0 | Room(s) | 1 | 10 |  |  |  | 49 | 120 | 1.095 |  |  |  |  | 2 | 0.05 | 17
4 | EEG/EKG | 0 | Room(s) | 1 | 10 | [10 empty] | 3 | 0.06 | 13 |  | Needed SCFM | SCFM | Model #
5 | Pulmonary Function | 0 | Bed or outlet | 1.5 | 30 | [10 empty] | 4 | 0.08 | 10 | Row | #N/A | 1 | A-SCD-Q-200P-SS-N-020 | http://www.amico.com/sites/default/files/product/downloads/nfpa_quadraplex_scd_modular_stack_mount.pdf
6 | Respiratory Care | 0 | Bed or outlet | 1.5 | 30 | [14 empty] | #N/A | 16.8 | A-SCD-Q-200P-SS-N-020 | http://www.amico.com/sites/default/files/product/downloads/nfpa_quadraplex_scd_modular_stack_mount.pdf
7 | Observation | 0 | Bed or outlet | 1 | 10 | [10 empty] | 5 | 0.1 | 8 |  | #N/A | 25.5 | A-SCD-Q-200P-SS-N-030 | http://www.amico.com/sites/default/files/product/downloads/nfpa_quadraplex_scd_modular_stack_mount.pdf
[16 empty] | 6 | 0.15 | 6 |  |  | 42.3 | A-SCD-Q-200P-SS-N-050 | http://www.amico.com/sites/default/files/product/downloads/nfpa_quadraplex_scd_modular_stack_mount.pdf
Perinatal and Pediatric | [15 empty] | 8 | 0.2 | 5 |  |  | 72 | A-SCD-Q-200P-SS-N-075 | http://www.amico.com/sites/default/files/product/downloads/nfpa_quadraplex_scd_modular_stack_mount.pdf
[16 empty] | 10 | 0.25 | 4 |  |  | 96 | A-SCD-Q-200P-SS-N-100 | http://www.amico.com/sites/default/files/product/downloads/nfpa_quadraplex_scd_modular_stack_mount.pdf
1 | Birthing or LDRP | 0 | Room(s) | 1 | 100 | [10 empty] | 13 | 0.3 | 3 |  |  | 144 | A-SCD-Q-200P-SS-N-150 | http://www.amico.com/sites/default/files/product/downloads/nfpa_quadraplex_scd_modular_stack_mount.pdf
2 | Delivery Room | 0 | Room(s) | 0.5 | 100 | [10 empty] | 17 | 0.4 | 2 |  |  | 192 | A-SCD-Q-200P-SS-N-200 | http://www.amico.com/sites/default/files/product/downloads/nfpa_quadraplex_scd_modular_stack_mount.pdf
3 | Nursery | 0 | Bed(s) | 0.5 | 10 | [10 empty] | 20 | 0.5 | 1.5 |  |  |  | Please Contact Amico Rep | www.amico.com
4 | NICU | 0 | Bed(s) | 1.5 | 50 | [10 empty] | 25 | 0.6 | 1
[16 empty] | 30 | 0.7 | 0.8 |  | Needed SCFM | SCFM | Model #
Intensive Care | [15 empty] | 35 | 0.8 | 0.6 | Row | #N/A | 1 | A-RED-D-080P-TH-N-010 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_red_modular_stack_mount.pdf
[16 empty] | 40 | 0.9 | 0.45 |  | #N/A | 3.3 | A-RED-D-080P-TH-N-010 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_red_modular_stack_mount.pdf
1 | Adult ICU, CCU, etc. | 0 | Bed(s) | 2 | 50 | [10 empty] | 50 | 1 | 0.3 |  | #N/A | 3.3 | A-RED-D-120P-TH-N-010 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_red_modular_stack_mount.pdf
2 | Pediatric ICU (Except NICU) | 0 | Bed(s) | 2 | 50 | [10 empty] | 60 | 1.25 | 0.2 |  |  | 6.6 | A-RED-D-080P-TH-N-020 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_red_modular_stack_mount.pdf
3 | Emergency (not surgical) | 0 | Bed(s) | 2 | 10 | [10 empty] | 70 | 1.5 | 0.15 |  |  | 6.6 | A-RED-D-120P-TH-N-020 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_red_modular_stack_mount.pdf
[16 empty] | 80 | 1.66 | 0.1 |  |  | 9.4 | A-RED-D-080P-TH-N-030 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_red_modular_stack_mount.pdf
Equipment Maintenance | [15 empty] | 90 | 1.83 | 0.08 |  |  | 9.4 | A-RED-D-120P-TH-N-030 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_red_modular_stack_mount.pdf
[16 empty] | 100 | 2 | 0.06 |  |  | 15.4 | A-RED-D-080P-TH-N-050 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_red_modular_stack_mount.pdf
1 | Workrooms | 0 | Outlet(s) | 1.5 | 10 | [10 empty] | 150 | 3 | 0.04 |  |  | 15.4 | A-RED-D-120P-TH-N-050 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_red_modular_stack_mount.pdf
[16 empty] | 200 | 4 | 0.035 |  |  |  | Please Contact Amico Rep | www.amico.com
Laboratory | [15 empty] | 233 | 5 | 0.03
[16 empty] | 266 | 6 | 0.025 |  | Needed SCFM | SCFM | Model #
1 | Medical Lab Uses | 0 | Outlet(s) | 1.5 | 25 | [10 empty] | 300 | 6.5 | 0.02 | Row | #N/A | 1 | A-RED-D-200P-SS-N-010 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_red_horizontal_tank_mount.pdf
[16 empty] | 333 | 7 | 0.01 |  | #N/A | 3.3 | A-RED-D-200P-SS-N-010 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_red_horizontal_tank_mount.pdf
Other | [15 empty] | 366 | 8 | 0.008 |  | #N/A | 6.6 | A-RED-D-200P-SS-N-020 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_red_horizontal_tank_mount.pdf
[16 empty] | 400 | 9 | 0 |  |  | 9.4 | A-RED-D-200P-SS-N-030 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_red_horizontal_tank_mount.pdf
1 | Patient rooms | 0 | Room(s) | 0.5 | 10 | [15 empty] | 15.4 | A-RED-D-200P-SS-N-050 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_red_horizontal_tank_mount.pdf
2 | Ventilator | 0 | Unit(s) | 3 | 50 | [15 empty] | 23.3 | A-RED-D-200P-SS-N-075 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_red_horizontal_tank_mount.pdf
3 | Location1: Critical* | 0 | Outlet(s) | 6 | 100 | [15 empty] | 32.5 | A-RED-D-200P-SS-N-100 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_red_horizontal_tank_mount.pdf
4 | Location2: Non Critical* | 0 | Outlet(s) | 3.5 | 100 | [15 empty] | 47.7 | A-RED-D-200P-SS-N-150 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_red_horizontal_tank_mount.pdf
5 | Location3: Support Gas* | 0 | Outlet(s) | 5 | 100 | [15 empty] | 61.8 | A-RED-D-200P-SS-N-200 | http://www.amico.com/sites/default/files/product/downloads/nfpa_duplex_red_horizontal_tank_mount.pdf
6 | Location4: | 0 | Outlet(s) | [18 empty] | Please Contact Amico Rep | www.amico.com
Future Expansion | [5 empty] | 0 | [13 empty] | Needed SCFM | SCFM | Model #
[19 empty] | Row | #N/A | 1 | A-RED-T-200P-SS-N-010 | http://www.amico.com/sites/default/files/product/downloads/nfpa_triplex_red_modular_stack_mount.pdf
PEAK CALCULATED DEMAND IN SCFM: | [5 empty] | 0 | [13 empty] | #N/A | 6.6 | A-RED-T-200P-SS-N-010 | http://www.amico.com/sites/default/files/product/downloads/nfpa_triplex_red_modular_stack_mount.pdf
NOTES: | [19 empty] | #N/A | 13.2 | A-RED-T-200P-SS-N-020 | http://www.amico.com/sites/default/files/product/downloads/nfpa_triplex_red_modular_stack_mount.pdf
1. The SCFM above is based on a peak OUTLET demand of 50 psi. Air compressors operate at 100 psi. When sizing a compressor, you MUST | [20 empty] | 18.8 | A-RED-T-200P-SS-N-030 | http://www.amico.com/sites/default/files/product/downloads/nfpa_triplex_red_modular_stack_mount.pdf
figure the compressor capacity for operation at 100 psi. | [20 empty] | 30.8 | A-RED-T-200P-SS-N-050 | http://www.amico.com/sites/default/files/product/downloads/nfpa_triplex_red_modular_stack_mount.pdf
2. Air outlets in labs used for analysis, research or teaching should be supplied by a seperated compressed air system, not medical air system. | [20 empty] | 46.6 | A-RED-T-200P-SS-N-075 | http://www.amico.com/sites/default/files/product/downloads/nfpa_triplex_red_modular_stack_mount.pdf
3. * Maybe used alone if you wish to only count outlets needed. You may change that field as you see fit. | [20 empty] | 65 | A-RED-T-200P-SS-N-100 | http://www.amico.com/sites/default/files/product/downloads/nfpa_triplex_red_modular_stack_mount.pdf
[21 empty] | 95.4 | A-RED-T-200P-SS-N-150 | http://www.amico.com/sites/default/files/product/downloads/nfpa_triplex_red_modular_stack_mount.pdf
Altitude above sea level, ft: | [20 empty] | 123.6 | A-RED-T-200P-SS-N-200 | http://www.amico.com/sites/default/files/product/downloads/nfpa_triplex_red_modular_stack_mount.pdf
[22 empty] | Please Contact Amico Rep | www.amico.com
Intake air temperature, °F:
[20 empty] | Needed SCFM | SCFM | Model #
Relative Humidity, %: | [5 empty] | 0% | [12 empty] | Row | #N/A | 1 | A-RED-Q-200P-SS-N-010 | http://www.amico.com/sites/default/files/product/downloads/nfpa_quadruplex_red_modular_stack_mount.pdf
[20 empty] | #N/A | 9.9 | A-RED-Q-200P-SS-N-010 | http://www.amico.com/sites/default/files/product/downloads/nfpa_quadruplex_red_modular_stack_mount.pdf
PEAK CALCULATED DEMAND IN SCFM, ADJUSTED: | [5 empty] | 0 | [13 empty] | #N/A | 19.8 | A-RED-Q-200P-SS-N-020 | http://www.amico.com/sites/default/files/product/downloads/nfpa_quadruplex_red_modular_stack_mount.pdf
[21 empty] | 28.2 | A-RED-Q-200P-SS-N-030 | http://www.amico.com/sites/default/files/product/downloads/nfpa_quadruplex_red_modular_stack_mount.pdf
NOTE: The system model below are provided as a reference and variation of the systems are available. Please contact your | [20 empty] | 46.2 | A-RED-Q-200P-SS-N-050 | http://www.amico.com/sites/default/files/product/downloads/nfpa_quadruplex_red_modular_stack_mount.pdf
local sales rep for details. | [20 empty] | 69.9 | A-RED-Q-200P-SS-N-075 | http://www.amico.com/sites/default/files/product/downloads/nfpa_quadruplex_red_modular_stack_mount.pdf
[21 empty] | 97.5 | A-RED-Q-200P-SS-N-100 | http://www.amico.com/sites/default/files/product/downloads/nfpa_quadruplex_red_modular_stack_mount.pdf
| Amico Source Contact Information | [19 empty] | 143.1 | A-RED-Q-200P-SS-N-150 | http://www.amico.com/sites/default/files/product/downloads/nfpa_quadruplex_red_modular_stack_mount.pdf
[21 empty] | 185.4 | A-RED-Q-200P-SS-N-200 | http://www.amico.com/sites/default/files/product/downloads/nfpa_quadruplex_red_modular_stack_mount.pdf
|  | Telephone | E-MAIL | [18 empty] | Please Contact Amico Rep | www.amico.com
| Project Management - USA | 1-877-462-6426 | as-usa@amico.com
| Project Management - Canada | 1-877-462-6426 | as-canada@amico.com
| Project Management - International | 1-877-462-6426 | as-intl@amico.com
| Parts | 1-877-462-6426 | as-parts@amico.com
| Tech Support | 1-888-770-6035 | as-techsupport@amico.com
Oil-less Scroll System
|  | System Model # |  | Drawing Link
Tank Mount Horizontal
Duplex Skid Mount
Triplex Skid Mount
Quadraplex Skid Mount
Oil-less Reciproating System
|  | System Model # |  | Drawing Link
Tank Mount Horizontal
Duplex Skid Mount
Triplex Skid Mount
Quadraplex Skid Mount